Home Plan Report: My Dream Home

Plot 442 sq ft | 2 floor(s) | 3 bedroom(s) | 3 bathroom(s) | 1 kitchen(s) | 1 hall(s) | 1 dining | Garden: Yes | Terrace garden: Yes

Generated on 28 Oct 2026. This document contains 1 plan option(s) with draft floor plans, site and garden plan, terrace plan, 3D concept views, room-wise comfort notes and garden set-up points.

| Plan | Style | House size | Built-up (sq ft) | Garden (sq ft) | Estimated total cost |
| --- | --- | --- | --- | --- | --- |
| Plan 2 | Classic Traditional | 18'-0" x 12'-0" | 432 | 180 | Rs. 13,13,388 |

Plan 2: Classic Traditional

Warm colours, sloping hip roof, timeless proportions

Note: This plot is tight for the requested rooms: rooms were scaled to about 25 % of comfortable size. Consider one more floor or fewer rooms.

Note: 2 room(s) have no external wall. Add a ventilation shaft, skylight or light-well there.

| Item | Value |
| --- | --- |
| Plot size | 26'-0" x 17'-0" (442 sq ft) |
| House footprint | 18'-0" x 12'-0" (216 sq ft, 49 % coverage) |
| Floors / built-up area | 2 / 432 sq ft |
| Setbacks | Front 3'-0", rear 2'-0", sides 2'-0" |
| Roof | Flat RCC roof with parapet |
| Garden area | about 180 sq ft |
| Terrace garden | about 83 sq ft |
| Estimated total cost | Rs. 13,13,388 (Standard quality, Tier-2 city) |

Rooms on each floor

| Floor | Bedrooms | Bathrooms | Kitchens | Halls | Dining rooms |
| --- | --- | --- | --- | --- | --- |
| Ground Floor | 1 | 1 | 1 | 1 | 1 |
| First Floor | 2 | 2 | 0 | 0 | 0 |

3D concept view: front (south-east)

3D concept view: rear (north-west)

Draft floor plans

Ground Floor plan

First Floor plan

Site and garden plan

Site plan with garden set-up

Terrace garden plan

Terrace garden set-up

Rooms, sizes and comfort

| Floor | Room | Size | Sq ft | Comfort | What fits |
| --- | --- | --- | --- | --- | --- |
| Ground Floor | Staircase | 6'-0" x 5'-0" | 30 | - | Straight flight with landing, 6 in riser / 10 in tread |
| Ground Floor | Dining | 12'-0" x 5'-0" | 60 | Compact | 6-seater dining table with crockery unit |
| Ground Floor | Living Hall | 7'-6" x 7'-0" | 52 | Compact | Sofa set, TV unit and free family movement space |
| Ground Floor | Kitchen | 3'-6" x 7'-0" | 24 | Compact | L-shaped counter, hob, sink, fridge and storage loft |
| Ground Floor | Master Bedroom | 5'-6" x 7'-0" | 38 | Compact | Queen/king bed, side tables and a wardrobe wall |
| Ground Floor | Master Bath | 1'-6" x 7'-0" | 10 | Compact | WC, wash basin and shower zone with an exhaust window |
| First Floor | Staircase | 6'-0" x 5'-0" | 30 | - | Straight flight with landing, 6 in riser / 10 in tread |
| First Floor | Bedroom 2 | 12'-0" x 5'-0" | 60 | Compact | Queen/king bed, side tables and a wardrobe wall |
| First Floor | Bath 2 | 2'-6" x 7'-0" | 18 | Compact | WC, wash basin and shower zone with an exhaust window |
| First Floor | Bedroom 3 | 8'-6" x 7'-0" | 60 | Compact | Queen/king bed, side tables and a wardrobe wall |
| First Floor | Bath 3 | 2'-6" x 7'-0" | 18 | Compact | WC, wash basin and shower zone with an exhaust window |
| First Floor | Lobby | 4'-6" x 7'-0" | 32 | - | Landing that links bedrooms and the staircase |

Comfort points of this plan

•  Sloping terracotta roof sheds heavy rain and keeps the upper floor cooler.

•  Near-square footprint gives well-proportioned, easy-to-furnish rooms.

•  Front hall opens straight from the entrance, welcoming guests first.

•  Private bedrooms sit away from the public hall and kitchen zone.

•  Mirrored layout places the staircase on the left to suit a different plot orientation.

•  Built-up area about 432 sq ft over 2 floor(s) on a 26'-0" x 17'-0" plot (49 % ground coverage).

•  Building type: Home — room programme follows this category.

•  Master bedroom is 5'-6" x 7'-0" with an attached bath.

•  The staircase is aligned on every floor for efficient vertical circulation.

Garden set-up

•  Total garden / open green area is about 180 sq ft (41 % of the plot).

•  Front yard: lawn and flower beds on both sides of a 10 ft driveway. Gate and entrance door line up on the same axis.

•  Flower beds along the house front: hibiscus, jasmine, crossandra and ixora like full sun and need little care.

•  Shade trees (neem, mango, guava, curry leaf) are placed on the sides and rear to cool the walls; keep trees at least 10 ft from the walls.

•  Use permeable paving and a rain-water pit near the rear boundary so the garden recharges ground water.

•  Plant choices suit a tropical climate; swap in local species as advised by a nursery.

Terrace garden set-up

•  Usable terrace garden area is about 83 sq ft on the top-floor roof.

•  Planter strip along the parapet for flowering shrubs and climbers.

•  Shaded pergola deck for morning tea and evening seating.

•  Raised grow-beds (about 12 in soil) for tomato, chilli, leafy greens and herbs.

•  Water tank sits near the middle, away from the planters; the staircase head-room opens onto the terrace.

•  Waterproofing with a proper slope to the drain outlets is essential. Use lightweight potting mix and confirm the slab load with your structural engineer.

•  Because the roof is a flat terrace, all five plans use a flat roof when the terrace garden is selected.

Quotation and cost estimate: Plan 2 Classic Traditional

| Quotation no. | Date | Valid until | Client / project | Quality | Region |
| --- | --- | --- | --- | --- | --- |
| QT-20261028-0001-P2 | 28 Oct 2026 | 27 Nov 2026 | My Dream Home | Standard | Tier-2 city |

Built-up area 432 sq ft over 2 floor(s) on a plot of 442 sq ft (26'-0" x 17'-0").

| No. | Description | Unit | Qty | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
|  | A. MAIN BUILDING (CIVIL AND FINISHING) |  |  |  |  |
| 1 | Excavation, footing, plinth beam and filling - RCC M25 footings, PCC bed, anti-termite treatment | sq ft | 432 | Rs. 208 | Rs. 89,856 |
| 2 | RCC structure: columns, beams and slabs - Fe500D steel, M25 concrete, quality shuttering | sq ft | 432 | Rs. 454 | Rs. 1,96,128 |
| 3 | Brick / block masonry - 9 in outer + 4.5 in inner walls, AAC / clay blocks | sq ft | 432 | Rs. 151 | Rs. 65,232 |
| 4 | Plastering (internal and external) - Cement plaster with sponge / putty finish | sq ft | 432 | Rs. 113 | Rs. 48,816 |
| 5 | Flooring, tiling and skirting - Vitrified / porcelain / wooden / anti-skid by room | sq ft | 432 | Rs. 208 | Rs. 89,856 |
| 6 | Doors and windows - Teak main door, flush / solid doors, UPVC / aluminium with glass | sq ft | 432 | Rs. 151 | Rs. 65,232 |
| 7 | Electrical works - Concealed copper wiring, modular switches, MCB / DB panel | sq ft | 432 | Rs. 113 | Rs. 48,816 |
| 8 | Plumbing and sanitary - CPVC / UPVC pipes, branded sanitaryware & CP fittings | sq ft | 432 | Rs. 113 | Rs. 48,816 |
| 9 | Painting and finishing - Acrylic putty, primer, emulsion interior + weather-coat exterior | sq ft | 432 | Rs. 95 | Rs. 41,040 |
| 10 | Waterproofing and roof finishing - Terrace, bathroom & wet-area waterproofing system | sq ft | 432 | Rs. 57 | Rs. 24,624 |
| 11 | Staircase and railing - Granite / marble treads, SS / glass / designer railing | sq ft | 432 | Rs. 57 | Rs. 24,624 |
| 12 | Kitchen platform, modular units and wardrobes - Granite / quartz platform, modular base units, loft & wardrobes | sq ft | 432 | Rs. 95 | Rs. 41,040 |
| 13 | Miscellaneous finishing and cleaning - Grills, hardware, false ceiling allowance, final cleaning | sq ft | 432 | Rs. 76 | Rs. 32,832 |
|  | B. SITE WORKS AND EXTERNAL DEVELOPMENT |  |  |  |  |
| 14 | Compound wall 5 ft high with plaster and paint | rft | 76 | Rs. 1,400 | Rs. 1,06,400 |
| 15 | Main gate and pedestrian gate (MS / designer) | lump | 1 | Rs. 45,000 | Rs. 45,000 |
| 16 | Driveway and paving | sq ft | 30 | Rs. 140 | Rs. 4,200 |
| 17 | Garden: lawn, beds, trees, gazebo and irrigation | sq ft | 180 | Rs. 110 | Rs. 19,800 |
| 18 | Terrace garden: waterproofing, planters, pergola, grow-beds | sq ft | 83 | Rs. 320 | Rs. 26,560 |
| 19 | Underground sump, overhead tank and borewell connection | lump | 1 | Rs. 60,000 | Rs. 60,000 |
| 20 | Rain-water harvesting pit and drainage | lump | 1 | Rs. 25,000 | Rs. 25,000 |

Summary

| Item | Amount |
| --- | --- |
| A. Main building | Rs. 8,16,912 |
| B. Site works and external development | Rs. 2,86,960 |
| Sub-total (A + B) | Rs. 11,03,872 |
| Architect and structural design fee (3%) | Rs. 33,116 |
| Approvals, permits and utility connections (1%) | Rs. 11,039 |
| Contractor overhead, profit and supervision (8%) | Rs. 88,310 |
| Contingency (5%) | Rs. 55,194 |
| GST at 18% on design and contractor service charges | Rs. 21,857 |
| GRAND TOTAL ESTIMATE | Rs. 13,13,388 |
| Cost per sq ft of built-up area | Rs. 3,040 |
| Estimated construction time | 8 months |

Amount in words: Thirteen lakh thirteen thousand three hundred eighty-eight rupees only.

Payment schedule (milestone billing)

| Stage | Share | Amount |
| --- | --- | --- |
| Advance / booking | 10% | Rs. 1,31,339 |
| Foundation and plinth complete | 15% | Rs. 1,97,008 |
| Columns, beams and slabs complete | 25% | Rs. 3,28,347 |
| Masonry and plastering complete | 15% | Rs. 1,97,008 |
| Flooring, doors and windows complete | 15% | Rs. 1,97,008 |
| Electrical, plumbing and painting complete | 15% | Rs. 1,97,008 |
| Handover and final snag clearance | 5% | Rs. 65,669 |

Total cost by finish quality (same plan)

| Quality | Total estimate | Per sq ft |
| --- | --- | --- |
| Standard | Rs. 13,13,388 | Rs. 3,040 |
| Premium | Rs. 18,34,605 | Rs. 4,247 |
| Luxury | Rs. 25,23,748 | Rs. 5,842 |

Terms and conditions

•  This is an indicative budget estimate for planning. A final quotation needs site soil test, structural design and approved drawings.

•  Rates follow the selected finish quality and region and may change with material prices, labour and city rules.

•  Quotation is valid for 30 days from the date shown. Rates after that are subject to revision.

•  Excluded: land cost, registration, furniture, appliances, interior decoration, lifts, solar power and landscaping beyond the items listed.

•  Payment is stage-wise as per the schedule. Extra work outside this scope is charged separately.

•  GST shown applies to design and contractor service charges; material GST is already inside the item rates.

Prepared by: Home Planner        Client signature: ______________________        Contractor signature: ______________________

Disclaimer: these are concept drawings for planning and discussion. Room positions, structure, services and local-authority approvals must be verified and detailed by a licensed architect or structural engineer before construction.